Application for Standalone Desalination Plant Registration / Operating Permit

General Information

- If the form is submitted by another party, a power of attorney document must be submitted along with the form. - The form is divided into 05 parts. Complete the necessary parts. - If hand filled, this form is to be filled with blue or black ballpoint ink - If this form is incomplete or failure to submit any document that is required, the application will be rejected. - This form is not intended for desalination plants connected to a distribution network - If submitting online, the filled form along with the attachments shall be submitted to secretariat@ura.gov.mv email address

| Part 1: Application Type |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Registration | P1 – Standalone Desalination Plant Registration |  |  |  |  |  |  |  |  |  |  |
| New | Transfer |  |  |  |  |  |  | Amendment |  |  | Cancellation |
| ☐ | ☐ |  |  |  |  |  |  | ☐ |  |  | ☐ |
| License / Permit |  |  |  |  |  |  |  |  |  |  |  |
| New |  |  | Amendment/Renewal |  |  |  |  |  |  | Cancellation |  |
| ☐ |  |  | ☐ |  |  |  |  |  |  | ☐ |  |
| License/Permit Category Applying For: |  | W-B1 – Special License – Independent Water Producer |  |  |  |  |  |  |  |  |  |
|  |  | ☐ |  |  | Temporary |  |  |  |  |  |  |
|  |  | ☐ |  |  | Permanent |  | Required Period: |  | Click or tap here to enter text. |  |  |
|  |  | ☐ |  | W-C1 – Operating Permit (For Non-Utility Service) |  |  |  |  |  |  |  |
| Reference No. (if an amendment): |  |  |  |  |  | Click or tap here to enter text. |  |  |  |  |  |
| Detail Design Reference No.: |  |  |  |  |  | Click or tap here to enter text. |  |  |  |  |  |
| Registration No. (if registered): |  |  |  |  |  | Click or tap here to enter text. |  |  |  |  |  |

| Part 2: Owner Details |  |
| --- | --- |
| Name: | Click or tap here to enter text. |
| Address: | Click or tap here to enter text. |
| ID Card/Business Registry No.: | Click or tap here to enter text. |
| Contact No.: | Click or tap here to enter text. |
| Email Address: | Click or tap here to enter text. |

| Part 3: Operator Details (if different from the owner) |  |
| --- | --- |
| Name: | Click or tap here to enter text. |
| Address: | Click or tap here to enter text. |
| ID Card/Business Registry No.: | Click or tap here to enter text. |
| Contact No.: | Click or tap here to enter text. |
| Email Address: | Click or tap here to enter text. |
| Name of Focal Point: | Click or tap here to enter text. |
| Contact No. of Focal Point: | Click or tap here to enter text. |
| Email Address of Focal Point: | Click or tap here to enter text. |

| Part 4: Purpose of Desalination |  |  |  |  |
| --- | --- | --- | --- | --- |
| ☐ | For Industrial/Commercial Use |  | ☐ | For Own Use |
| ☐ | Other: | Click or tap here to enter text. |  |  |

| ANNEX 1. Desalination Plant Information |  |
| --- | --- |
| Installed site name: | Click or tap here to enter text. |
| Atoll/Island: | Click or tap here to enter text. |
| GPS Coordinates: | Click or tap here to enter text. |
| Type of Plant: | Click or tap here to enter text. |
| Manufactured Country: | Click or tap here to enter text. |
| Date of Manufacture: | Click or tap here to enter text. |
| Plant Serial No.: | Click or tap here to enter text. |
| Plant Model No.: | Click or tap here to enter text. |
| No. of Plants: | Click or tap here to enter text. |
| Total Capacity (m3/day): | Click or tap here to enter text. |
| Plant Installed By: | Click or tap here to enter text. |
| Chemicals Used for Disinfections: | Click or tap here to enter text. |
| Chemicals Used for Cleaning/Maintenance: | Click or tap here to enter text. |
| How Much Chemicals are Used: | Click or tap here to enter text. |
| How Often Chemicals are Used: | Click or tap here to enter text. |

| ANNEX 2. Water Intake |  |  |  |  |
| --- | --- | --- | --- | --- |
| Type of Intake: | ☐ | Borehole | ☐ | Open Sea |
| Type of Water: |  | Click or tap here to enter text. |  |  |
| GPS Coordinates of Intake: |  | Click or tap here to enter text. |  |  |
| GPS Coordinates of the Brine Discharge: |  | Click or tap here to enter text. |  |  |
| Capacity of the Raw Water Collection Tank (m3): |  | Click or tap here to enter text. |  |  |
| No of Boreholes: |  | Click or tap here to enter text. |  |  |
| Depth of Borehole: |  | Click or tap here to enter text. |  |  |
| Diameter of Borehole: |  | Click or tap here to enter text. |  |  |
| Type of Housing of the Borehole: |  | Click or tap here to enter text. |  |  |
| SDI level of borehole water: |  | Click or tap here to enter text. |  |  |
| No of Borehole pumps: |  | Click or tap here to enter text. |  |  |
| Type of Borehole pumps: |  | Click or tap here to enter text. |  |  |

| ANNEX 3. Pre-Treatment |  |  |
| --- | --- | --- |
| Type of Filter | Number of Filters | Micron Size |
| Multimedia Filter | Click or tap here to enter text. | - |
| Sand Filters | Click or tap here to enter text. | - |
| Carbon filters | Click or tap here to enter text. | - |
| Cartridge Filters | Click or tap here to enter text. | Click or tap here to enter text. |
| Bag Filters | Click or tap here to enter text. | Click or tap here to enter text. |
| Other (Click or tap here to enter text.) | Click or tap here to enter text. | Click or tap here to enter text. |
| Pretreatment Chemicals | Click or tap here to enter text. |  |

| ANNEX 4. Post treatment |  |
| --- | --- |
| Method of Post treatment | ☐ Chlorine Dosing ☐ UV ☐ Other (Click or tap here to enter text.) |
| Post treatment chemicals | Click or tap here to enter text. |

| ANNEX 5. Product Water Storage |  |
| --- | --- |
| Number of tanks: | Click or tap here to enter text. |
| Total Storage Capacity (m3): | Click or tap here to enter text. |
| Type of storage tank: | Click or tap here to enter text. |

| ANNEX 6. Brine Discharge |  |
| --- | --- |
| Brine Outfall location (GPS): | Click or tap here to enter text. |
| Length of Brine outfall: | Click or tap here to enter text. |
| Depth of Brine outfall: | Click or tap here to enter text. |

| ANNEX 7. Groundwater |  |  |  |  |
| --- | --- | --- | --- | --- |
| Ground water quality (from a certified laboratory) | Within RO plant facility |  |  |  |
|  | Location - 1 | Location - 2 | Location - 3 | Location - 4 |
| GPS coordinates |  |  |  |  |
| Electrical Conductivity (µS/cm) |  |  |  |  |
| Salinity (%) |  |  |  |  |
| pH |  |  |  |  |
| Temperature (˚C) |  |  |  |  |
| Oil (Total Hydro Carbon) (mg/l) |  |  |  |  |

| ANNEX 8. Product Water (from a certified laboratory) | Reference | Sample 1 | Sample 2 | Sample 3 |
| --- | --- | --- | --- | --- |
| Physical appearance | Colourless |  |  |  |
| pH | 6.5 -8.5 |  |  |  |
| Turbidity | <1 NTU |  |  |  |
| Electrical Conductivity | <1000 µs/cm |  |  |  |
| Total Dissolved Solids (TDS) | <500 mg/L |  |  |  |
| Free Chlorine | 0.04 - 0.2 mg/l |  |  |  |
| Chloride | <200 mg/l |  |  |  |
| Boron | <2.4 mg/l |  |  |  |
| Arsenic | <0.01 mg/l |  |  |  |
| Fluoride | <1.5 mg/l |  |  |  |
| Iron | <0.3 mg/l |  |  |  |
| Total Hardness (Ca and Mg) | <75 mg/l |  |  |  |
| Hydrogen Sulphide | <0.05 mg/l |  |  |  |
| Nitrates | <50 mg/l |  |  |  |
| Ammonia | <0.5 mg/l |  |  |  |
| Suspended Solids | 5-750 mg/L |  |  |  |
| Total Coliform (CFU/100ml) | 0/100ml CFU |  |  |  |
| Faecal Coliform (CFU/100ml) | 0/100ml CFU |  |  |  |
| E.Coli | 0/100ml CFU |  |  |  |

| ANNEX 9. Intake Location (Borehole/Sea) (from a certified laboratory) | Reference | Sample 1 | Sample 2 | Sample 3 |
| --- | --- | --- | --- | --- |
| Borehole / Open Sea |  |  |  |  |
| pH | 7.5-8.5 |  |  |  |
| Temperature(˚C) | 25-30 |  |  |  |
| Electrical Conductivity (µS/cm) | 35000 – 60000+ |  |  |  |
| Salinity (%) | 20-40% |  |  |  |
| Dissolved Oxygen (mg/l) | 4-6 mg/l |  |  |  |
| TDS (mg/l) | 17500 – 30000 |  |  |  |
| SDI level of borehole water: | <5 |  |  |  |
| Total Coliform (CFU/100ml) | 0/100ml CFU |  |  |  |
| Faecal Coliform (CFU/100ml) | 0/100ml CFU |  |  |  |

| ANNEX 10. Brine discharge location | Reference | Sample 1 | Sample 2 | Sample 3 |
| --- | --- | --- | --- | --- |
| pH | 7.5-8.5 |  |  |  |
| Temperature (˚C) | 25-30 |  |  |  |
| Electrical Conductivity (µS/cm) | 45000 - 75000 |  |  |  |
| Salinity (%) | 35 - 50% |  |  |  |
| Dissolved Oxygen (mg/l) | 4-6mg/l |  |  |  |
| TDS (mg/l) | 22500 - 37500 |  |  |  |
| Biological Oxygen Demand (mg/l) | <20 |  |  |  |
| Chemical Oxygen Demand (mg/l) | <20 |  |  |  |

| ANNEX 11. Noise Levels | Inside plant house | Outside (within 1m) | Outside (within 5m) |
| --- | --- | --- | --- |
| Noise (dB) |  |  |  |
| Reference | < 95 dB A | < 70 dB A | < 60 dB A |

| ANNEX 12. Documentations | Inhouse | 3rd Party | Comments (if any) |
| --- | --- | --- | --- |
| Water quality test results (as per URA standards) | ☐ | ☐ |  |

Note:

- GPS coordinates of all sampling locations and original test result sheets from an ISO 17025 certified laboratory must be provided with the checklist. Absence of facility in the country will not exempt the proponent from providing the required water quality information.

- EIA decision statement is required only for NEW installations

- Permits and Temporary Licenses will be issued for 1 (one) Year

List of items to be submitted with application form

1 - Location map (Showing locations of the plant, brine discharge location, intake location and sewage outfall locations)

2 - Originals of all laboratory test reports

3 - Site specific scaled process flow diagram

4 - Copy of Company Registration (Companies)

5 - EIA decision statement (applicable only for new installations)

6 - Copy of Identity Card (Individuals)

| Fees |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Registration | IWP License |  | Permit |
| Category | P1 | W-B1 |  | W-C1 |
|  | Per Year | Temporary (/Year) | Permanent (/Year) | Per Year |
|  | MVR 1,000.00 | MVR 25,000.00 | MVR 20,000.00 | MVR 5,000.00 |

| Part 5: Declaration of the Owner |  |  |
| --- | --- | --- |
| I hereby declare that the information provided is true and accurate. In case Utility Regulatory Authority finds the information provided is false or inaccurate, Utility Regulatory Authority has the right to reject the application. In case Utility Regulatory Authority requires to inspect the facility, I will facilitate Utility Regulatory Authority with the necessary arrangements. |  |  |
| Name | Signature | Stamp (if a Business) |
| Click or tap here to enter text. |  |  |
| Designation | Date |  |
| Click or tap here to enter text. | Click or tap here to enter text. |  |